2
Forms From In the Face of Disaster (2002) 


BUILDING AUDIT FORM

Burke Library

These site survey questions are provided as a way of assessing an institution's disaster susceptibility and/or emergency preparedness. Some sections will require drafting maps. Make an effort to survey each situation carefully. 

 Fire Control Systems:

1) Fire Extinguishers: 

Keep a list of the locations of all fire  extinguishers in the institution and note the last inspection date of each. Also, for each of the extinguishers, ask the following questions:

Is the extinguisher sufficiently charged? 

YES
Has it been discharged or in any way damaged?

NO

What type of extinguisher is it: water or dry-chemical? 

ABC

Is it the right type of extinguisher in the right location? (i.e., for instance, dry-chemical extinguishers, preferably Halon, should be kept nearest computer equipment.)

YES EXCEPT A HEAT SCAVENGER SYSTEM (e.g. FM2000) WOULD BE PREFERABLE IN
RARE BOOK ROOM AND ARCHIVES

Is the extinguisher easily accessible, or is it somehow blocked or hidden? 

YES

Is it on the floor or mounted on a wall? [Extinguishers should normally be wall-mounted]

WALL
Are any extinguishers missing?

NO

Are there any other problems?

NO
BUILDING AUDIT FORM (cont'd.)

Burke Library

2) Fire and Smoke Detection Systems and Fire Alarms:

Where are detectors and alarms located? 

OPEN AREAS, INDIVIDUAL OFFICES, ETC.
When were batteries last changed? 

WITHIN LAST SIX MONTHS, DONE REGULARLY

Are regular tests of fire alarms and fire suppression systems conducted? How often?

YES
Are alarms connected to the local fire department, campus security, or some other off-site monitoring station(s)?

YES – CAMPUS SAFETY

3) Fire Exits:

Are fire exit signs clearly visible?


NOT IN ALL CASES, VISIBILITY BLOCKED BY STACKS IN SEVERAL LOCATION

Are fire exit doors locked?


NO ______________________________________________________________________

Are fire exits crowded or blocked

NO
Are there any other problems? 

NO

BUILDING AUDIT FORM (cont'd.)

Burke Library

 Electrical Systems:

Is there any worn or exposed wiring?

NO
Is any ungrounded equipment in use?

NO

Are there adequate electrical outlets or are electrical sockets overloaded?

ADEQUATE OUTLETS

Are there any empty light sockets or burned out lights?

NO

Are kitchen and staff areas checked to see if equipment is left on?

YES

Are there any other problems?

NO
Does the institution have an auxiliary power system in case of a power outage?

LIGHTS – YES, AIR - NO

Environmental Controls:

Is the heating, ventilation and air-conditioning system effective? Is it inspected regularly?

YES, INSPECTED REGULARLY
Can both temperature and humidity be controlled? 

YES, BUT ONLY BY PHYSICAL PLANT EXCEPT FOR INDIVIDUAL OFFICES

Are air filters changed on a regular basis?

CHECKED MONTHLY, CHANGED AS NEEDED (USUALLY 1-2 TIMES A YEAR)
Are there any other problems?

NO
BUILDING AUDIT FORM (cont'd.)
Burke Library

Water Systems:

Are pipes, plumbing, or any other sources of water located above or near collections?


Are pipes well-supported and in good shape, or are there any leaks? Where?

YES, NO LEAKS AT PRESENT

Are there water detectors in use and functioning? Are sump or back-up pumps available?

NO TO BOTH
Are there any other problems?


External Features:

Is the roof pitched or flat? Does water accumulate on the roof?

FLAT ROOF, WATER HAS ACCUMULATED IN THE PAST
Are roof gutters, eaves, and drains kept clean? Is drainage good?

DRAINS CLEANED ONCE A YEAR, DRAINAGE CONSIDERED GOOD BY PHYSICAL PLANT

Are windows and skylights well sealed and kept closed?

YES
Are there any other problems?


BUILDING AUDIT FORM (cont'd.)
Burke Library

Security:

Are all windows and doors locked and alarmed to prevent intruders from breaking in? How frequently is the system tested? 

YES
Is it wired to any off-site monitoring stations such as Security or the Police Department?

RARE BOOK ROOM ALARM ALERTS SECURITY OFFICE; FIRE EXIT - NO

Is the exterior of the building well-lighted?

YES, REASONABLYWELL
Are there any other problems?

NO

Other Matters:

Is there sufficient emergency lighting?

YES

Does the institution have first aid kits? Are kits well-stocked and inventoried on occasion?

YES, NOT INVENTORIED REGULARLY

Are stacks braced to protect a shelving collapse?

YES
Are the stacks, workspace, and public areas orderly, or crowded and messy?

TECHNICAL SERVICES & MAIN OFFICE WORK AREAS CROWDED

Are housekeeping and trash collection performed on a regular basis?

YES
Is there any evidence infestations of rodents, insects or mold/ fungi? Where?

YES – MICE WITHIN LAST YEAR
BUILDING AUDIT FORM (cont'd.)
Burke Library

Other issues unique to the institution not covered in this Building Audit:

















(This form adapted from: Cornell University Libraries Form A [as excerpted from the 

ARL/OMS SPEC Kit #69,1980]  and "What an Institution Can Do to Survey Its Conservation 

Needs" (1982) by George Cuhna)  XE "Buchanan, Sally"  
Central New York Library Resources Council  *****  http://www.clrc.org/progs/DisasterManualRev.pdf

