Existing Conditions

Burke Library

2007

- Need to publicize locations of emergency doors (esp. in basement) and fire extinguishers. We may be able to use floor plans devised for library pages (Mark is investigating)

- Journal compact stacks: leak in S area. Track is rusting.

- Back door: would it be possible to have a lock setup that required a key but could be overridden in case of an emergency.

- 3rd floor, “D” area of stacks: particles are drifting down from the air vents, potential damage to books.

- Who is building evacuation “monitor” for the first floor of Burke. Sharon Britton served in this capacity.