Existing Conditions

Media

2007

- No auxiliary lighting. Since Fire Marshall requires the door be shut, there is almost total darkness when the power foes out. Can we acquire emergency lighting? There may be some inexpensive commercial options. There is no exit sign within the Media Library and the dropped ceiling may prevent installing one. However, since there is only one door and there is an emergency exit sign visible once you leave the room, this may not be an issue.

- Number of missing light bulbs.

- No first aid kit visible during audit. (Cindy McKelvey will check with Linda Brennan).

- Leaking skylight on 3rd floor: roof was being replaced in summer of 2007.

- Moveable shelves: lack of upper bracing. Is this an issue?